Public Works Weekly Report

August 14-18

* Prince paving patched all areas that council suggested and areas that we had to repair water and sewer issues.
* The WWTP suffered a power surge over the weekend. The large aerators motor was blown, and we are having it rebuilt.
* I sent off lead, copper, TTHM and HAA5 water samples. These samples are done every 3 years.
* Public works read the monthly meter and re-read list.
* Daily line locates were completed.
* I met with fountain electric on the project behind the Brick Pizzeria and for the car charging station.
* Public works helped make a new sewer tap at Columbus Dental. The old tap was Orangeburg pipe and was failing.
* Weekly wastewater samples were pulled and sent to the lab.
* Public works picked up the weekly brush.
* Daily work orders were completed.
* Weekly mowing of town facilities was completed.